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	Отчет о работе
рабочей группы «Баллоны»
за 2016-2017 г.г.

	Progress Report
of the Working Group «Cylinders»
2016-2017

		За прошедший отчетный период 2016-2017 г.г., встречи рабочей группы «Газовые баллоны» организовывались 5 раз: 


1. 29.09.2016 (офис ООО «ЭР ЛИКИД»).
2. 21.12.2016 (офис ООО «Праксэа Рус»).
3. 22.02.2017 (офис АО «Линде Газ Рус»).
4. 27.06.2017 (офис ООО «Эйр Продактс Газ»).
5. 17.11.2017 (офис ООО «ЭР ЛИКИД»). 

Основными вопросами на повестке дня были: 

1. SHEQ: 
- обмен опытом, уроки из инцидентов, усиление мер контроля за выполнением работ в области охраны труда и здоровья. Разработка новых процедур.


2. Собственность на баллоны:
 - итоги мероприятий по внедрению на территории России модели "собственника баллонов".

3.  Принятие стандарта по присоединительной резьбе для наполнения 300 бар.
 

4. Ревизия выданных Ростехнадзором разрешений на проведение ТО Баллонов
5. Методика проведения ТО импортных баллонов

6. Борьба с недобросовестными поставщиками продукции и услуг: 
- внедрение системы контроля за нелегальными производителями и компаниями, предоставляющими услуги ТО.

Результатами работы Группы стали:

1. SHEQ.

          Компания «Эйр Продактс Газ» представила презентацию о лучших практиках в области безопасности на предприятии. В ходе презентации были отмечены инновационные подходы компании в области обеспечения работ в замкнутом пространстве.
Стороны пришли к мнению, что необходимо проводить более подробный разбор одного или двух происшествий с указанием причин произошедшего и действий компании предпринятых для недопущения повторения случившегося. Так же представители компании входящие в состав АППМГ поделились опытом использования баллонов Российских производителей.

На встречах рабочей группы «Газовые баллоны» постоянно идет обсуждение опыта эксплуатации баллонов на территории России.

2. Собственность на баллоны

            В рамках разработки концепции «собственник баллона», был изучен восточноевропейский опыт перехода от обезличенной модели к модели собственника баллона. Участниками АПМГ были предоставлены презентации, а так же направлены письма в РТН России, получены ответы. В ответе РТН в очередной раз указано, что инициатива по переходу к модели «Собственность на баллоны» не входит в их компетенцию. Но отдельно отмечено, что АПМГ сама может взять на себя ответственность по переходу к модели в рамках ассоциации и что РТН не видит со своей стороны оснований, определенных законодательством Российской Федерации в области промышленной безопасности, для препятствий реализации перехода к вышеуказанной модели. 

        В декабре 2016 представители рабочей группы Баллоны участвовали в заседании РТН, и озвучили позицию по переходу к собственности на баллон. Участники поддержали инициативу, но РТН отправило АПМГ в РСПП для оценки экономического воздействия. После представители АПМГ в  МИНПРОМТОРГОМ с целью получения разъяснений и дальнейшей имплементации нашей инициативы на собственность на баллонС. МИНПРОМТОРГ ответил, что внесение изменений в закон ФНП116, это задача РТН. После чего мы написали повторно запрос в РТН, где опять получили отрицательный ответ.

         Представители рабочей группы Баллоны приняли решение разработать правила работы модели «Собственность на баллоны» и внедрить их в рамках Ассоциации в качестве пилотного проекта. 

Дальнейшие шаги:
При положительных результатах работы, которые мы ожидаем получить по итогам 2018 г., АПМГ сможем двигаться дальше в попытке распространения нашей инициативы среди всех участников рынка промышленных и медицинских газов. 

3. Принятие стандарта по присоединительной резьбе для наполнения 300 бар.

Стороны обсудили возможность использования единого стандарта на территории России для наполнения баллонов и моноблоков давлением 300 бар. Одним из предложений является использовать стандарт ISO 5145. 

В ходе обсуждения было принято решение о разработка российского стандарта по присоединительной резьбе для наполнения 300 бар.


Дальнейшие шаги:
Представители рабочей группы подтвердили готовность рекомендовать всем участникам рынка технических газов использовать стандарт ISO 5145 для присоединительных резьб запорных вентилей баллонов и моноблоков с рабочим давлением 300 бар.

4. Вопросы разработки новых стандартов

Компании-участники АПМГ осуществляют проверку компаний, которые проводят ТО баллонной продукции в различных федеральных округах. 

Дальнейшие шаги:
По результатам проверки первого квартала 2018 года АПМГ составит письмо в РТН с просьбой обновить список действующих компаний, которые имеют право проводить ТО баллонов. 

5. Методика проведения ТО импортных баллонов


         Представители АПМГ обратились к производителям баллонов, с просьбой предоставить методику проведения ТО баллонов. Были получены ответы не от всех производителей, но практически во всех ответах, производители ссылаются на международные документы ADR (ДОПОГ) и EN 1968:2002. 

Дальнейшие шаги:

Продолжаем работу с производителями импортных баллонов, ожидаем ответы от всех производителей. В первом квартале 2018 года закончить получение утвержденных методик основных производителей баллонов.





6. Борьба с недобросовестными поставщиками продукции и услуг: 

За 2017 год компания ООО фирма «Криоген» сообщила участникам АПМГ о факте  поставок недобросовестными поставщиками.
 Следственными органами Следственного комитета Российской Федерации по Рязанской области по результатам проверки размещенной в СМИ информации о поставках в ГБУ РО «Областная детская клиническая больница им. Н.В. Дмитриевой» (далее – ГБУ РО «ОДКБ») некачественного жидкого медицинского кислорода возбуждено уголовное дело по признакам преступления, предусмотренного п. «а» ч. 2 ст. 238.1 УК РФ (сбыт фальсифицированных лекарственных средств в крупном размере).
По данным следствия, в ноябре 2016 года ГБУ РО «ОДКБ» с победителем электронного аукциона ООО «МагТехГаз», зарегистрированным и осуществляющим деятельность в Челябинской области, заключен контракт на поставку для нужд медицинского учреждения ежемесячными партиями в период с 1 января  по 31 декабря 2017  года «кислорода жидкого медицинского», всего в объёме 24 тонны.
Во исполнение указанного контракта в период с января по сентябрь 2017 года в ГБУ РО «ОДКБ» осуществлялись поставки жидкого медицинского кислорода в транспортных криогенных цистернах емкостью по 2 тонны, всего на сумму более 615 тысяч рублей, что является крупным размером. При этом в нарушение требований федерального законодательства поставки указанного лекарственного средства не сопровождались оригиналами паспортов качества на жидкий медицинский кислород, являющийся лекарственной формой в виде субстанции – сжиженного газа. Достоверных сведений о производителе, дате и времени производства жидкого кислорода, его соответствии ГОСТ, а также документов, подтверждающих транспортировку поставленного кислорода из города Магнитогорска Челябинской области в город Рязань, не представлено.


Дальнейшие шаги:

Отслеживать всеми участниками рабочей группы о фактах поставок недобросовестными поставщиками и по итогам 2018 года составить список таких компаний. 

Дополнительно за отчетный период:

-  Участники АПМГ провели встречу в июне 2017 с представителем ПНТЗ, где обсуждали вопрос разработки и производства инновационного баллона 50 литров 200 бар. Представители АПМГ дали рекомендации по ТТХ баллона. Сейчас ПНТЗ ответили,  что баллон находится на этапе разработки. 


- Рабочая группа баллоны подготовила открытое письмо, по позиции  ассоциации по применению вентиля для баллонов СО2, которые должны быть оснащены разрывными мембранами. Данная позиция будет опубликована.


	During the last reporting period 2016-2017, meetings of the Working group "Gas cylinders" were organized five times:


1. 29.09.2016 (office of LLC "Air Liquide").
2. 21.12.2016 (office of LLC "Praxair Rus").
3. 22.02.2017 (office of JSC "Linde Gas Rus").
4. 27.06.2017 (office of LLC "Air Products Gas”).
5. 17.11.2017 (office of LLC "Air Liquide").


Main issues on the agenda were:
 

1. SHEQ:
- Exchange of experiences, lessons learned from incidents, emphasis on health and labor safety works execution.
Development of new procedures.


2. Ownership of cylinders:
  - Results of introductory measures of the model "the owner of cylinders" in Russia.


3. Setting of coupling thread standard for 300 bars filling.
  


4. Inspection of permits issued by Rostekhnadzor for cylinder maintenance:
  5. Maintenance procedure for imported cylinders:
 
6. Fighting against unscrupulous providers of goods and services:
- Implementation of the monitoring system over illegal manufacturers and companies, which provide maintenance services.

Results of the Group work:

1. SHEQ.

"Air Products Gas" Company made a presentation on best practices in industrial safety area. In the course of presentation, they mentioned company innovative approach in confined space works area.  Participants arrived at a view that it is necessary to conduct a more detailed analysis of one or two incidents with statement of causes of the incident and actions taken by company to prevent the incident recurrence.  Representatives of company, which is a part of APMG, also shared their experience of Russian vendors cylinders use.

 The experience of cylinders’ operation in Russia is constantly discussed at meetings of the Working group "Gas cylinders".

2. Ownership of cylinders

As part of the development of "the owner of cylinders" concept, the Eastern European experience of transfer from the impersonal “pool” model to the model of "the owner of cylinders" was studied. APIMG participants delivered their presentations, as well as addressed letters to RTN Russia, and received replies. In RTN response it was repeatedly stated that initiative of transfer to the model of "the owner of cylinders" does not fall within their competence. 
It was stressed that APIMG can take its own responsibility to transfer to the model in association frameworks and RTN do not see any grounds, defined by the legislation of the Russian Federation in industrial safety field for holding back the transfer to the above-mentioned model.

In December, 2016 representatives of the working group Cylinders participated in RTN meeting, and have sounded a position on transition to property to a cylinder. Participants have supported the initiative, but RTN has sent APMG to RUIE for assessment of economic influence. After representatives of APMG in the MINISTRY OF INDUSTRY AND TRADE for the purpose of receiving explanations and further implementation of our initiative on property on баллонС. The MINISTRY OF INDUSTRY AND TRADE has answered that introduction of amendments to the law FNP116, is a problem of RTN. Then we have written repeatedly inquiry to RTN where have again received the negative answer.

Representatives of the Working group "Gas cylinders" made a decision to develop rules for the model "the owner of cylinders" and implement them in the frameworks of Association as a draft guide.

Next steps:
With positive results we are expecting to get at the end of 2018. APIMG will be able to move forward delivering our initiative among all players in the market of industrial and medical gases. 

	3. Adoption of the standard on a connecting carving for filling of 300 bars.

The parties have discussed a possibility of use of the uniform standard in the territory of Russia for filling of cylinders and monoblocks pressure of 300 bars. One of offers is to use ISO 5145. 

During discussion the decision about development of the Russian standard on a connecting carving for filling of 300 bars has been made.



Next steps:
Representatives of the working group have confirmed readiness to recommend to all participants of the market of technical gases to use ISO 5145 for connecting carvings of locking gates of cylinders and monoblocks with working pressure of 300 bars.





4. Questions of development of new standards

The APMG participating companies carry out check of the companies which carry out THAT balloon production in various federal districts. 

Next steps:
By results of check of the first quarter 2018 of APMG will make the letter in RTN with a request to update the list of the operating companies which have the right to carry out Technical an Inspection of cylinders.

5. Maintenance procedure for imported cylinders

Representatives of APMG have addressed producers of cylinders, with a request to provide a carrying out technique Technical an Inspection of cylinders.
 Answers not have been received from all producers, but practically in all answers, producers refer to the international documents ADR (DOPOG) and EN 1968:2002. 

Next steps:

We continue work with producers of import cylinders, we expect answers from all producers. In the first quarter 2018 to finish receiving the approved techniques of the main producers of cylinders.





As a result, official comment No. 18 dated 08.04.2016of was formed by the APMG.

Next steps:
Close work should be continued with the RosNITI and TK-357 on the development and improvement of standards and methods, guided by the experience of the APIMG members and based upon the European and world standards.

6. Fighting against unscrupulous providers of goods and services:

Investigating authorities of Investigative Committee of the Russian Federation of the Ryazan region by results of verification of information on deliveries to State Budgetary Institution RO "Oblastnaya detskaya klinicheskaya bolnitsa im. N. V. Dmitriyevoy" placed in media (further – State Budgetary Institution RO CSTO) low-quality liquid medical oxygen have brought criminal case on essential elements of offense, the provided item "and" of the p. 2 of Art. 238.1 of the Criminal Code of the Russian Federation (sale of the forged medicines in a large size).
According to the investigation, in November, 2016 State Budgetary Institution RO CSTO with the winner of an electronic auction of LLC Magtekhgaz registered and who is carrying out activity in Chelyabinsk region has concluded the contract for delivery for needs of medical institution by monthly parties during the period from January 1 to December 31, 2017 "oxygen liquid medical", in volume of only 24 tons.
In pursuance of the specified contract during the period from January to September, 2017 in State Budgetary Institution RO CSTO supply of liquid medical oxygen in transport cryogenic tanks with a capacity of 2 tons, all for the sum more than 615 thousand rubles was carried out that is the large size. At the same time in defiance of requirements of the federal legislation of supply of the specified medicine weren't followed by originals of quality certificates on the liquid medical oxygen which is a dosage form in the form of substance – the liquefied gas. The authentic information about the producer, date and time of production of liquid oxygen, its compliance of GOST and also documents confirming transportation of the put oxygen from the city of Magnitogorsk of Chelyabinsk region to the city of Ryazan isn't submitted.

Next steps:
To trace all participants of the working group about the facts of deliveries by unfair suppliers and following the results of 2018 to make the list of such companies.





In addition, during the reporting period:

-    Participants of APMG have held a meeting in June, 2017 with the representative of PNTZ where they discussed an issue of development and production of an innovative cylinder of 50 liters 200 bars. Representatives of APMG have made recommendations about cylinder TTH. Now PNTZ have answered that the cylinder is at a development stage.


-    The working group cylinders has prepared the official letter, on a position of association on use of the gate for the cylinders CO2 which have to be equipped with explosive membranes. This position will be published.




Руководитель рабочей группы «Газовые баллоны»
Ассоциации Производителей Промышленных и Медицинских Газов /
Head of the Working group "Gas cylinders"
Association of industrial and medical gases producers
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